## Slide 1: ATMS 360 – University of Nevada Reno CO2 Measurements
Presented by Nick Burgener, Sam Taylor, and Jasmine White

## Slide 2: Why are CO2 measurements important?
Carbon Dioxide is the primary greenhouse gas emitted by human activities
Combustion of fossil fuels is the main cause
In the last 25 years, emissions have increased by 7%
http://www.epa.gov/climatechange/ghgemissions/gases/co2.html

## Slide 3: Why are CO2 measurements important?
Greenhouse gases are naturally regulated by earth processes
However, humans have created an excess of carbon dioxide, throwing the balance off
This increase in greenhouse gases leads to sunlight being trapped and contributes to global warming
It also dissolves in the oceans, causing them to become more acidic
This raised acidity causes decomposition of coral and other calcium based organisms
http://www.mnn.com/earth-matters/climate-weather/stories/co2-101-why-is-carbon-dioxide-bad

## Slide 4: Why are CO2 measurements important?
By measuring the levels of CO2 in the air, we can gain a better understanding of how our actions affect the planet
This could help us to lower our emissions
If nothing else, it will show us how much we have already changed our world and how important it is to make changes

## Slide 5: Measuring CO2 levels – Telaire 6004

## Slide 6: Measuring CO2 levels – Telaire 6004

## Slide 7: Measuring CO2 levels – Telaire 6004
http://www.co2meter.com/blogs/news/6010192-how-does-an-ndir-co2-sensor-work

## Slide 8: Measuring CO2 levels
IR light of the specific wavelength which interacts with carbon dioxide is directed through the chamber
The sensor picks up what light still passes through
Whatever light was absorbed and not detected by the filter can be related to the amount of CO2 molecules present

## Slide 9: Measuring CO2 levels
I = Ioe-nLα
L is length of tube
α is the absorption cross section of CO2 (constant)
n is the number of CO2 molecules (what we want)
Because we know Io and I from the sensor, the number of CO2 molecules can be easily calculated

## Slide 12: Calibration for Temperature and Pressure

## Slide 13: Equations used by the CO2 Sensor
[CO2 ppm Calibrated] ]
=[]
= 1013.25 mb
= 273.15K

## Slide 14: Calibration for Temperature and Pressure Cont.
The sensor records the CO2 measurements 1000 times and then averages them together. The resulting number is reported as the “raw” CO2 data. After this, the “raw” number that was reported is calibrated for local temperature and pressure using this equation:
=[]

## Slide 15: 400 ppm Calibration
Before the calibration was applied, teensy card 4 appeared to be very inaccurate. However, once the card was calibrated for 400 ppm, it lined up nicely with the rest of the cards. Card 3 appeared to have some strange values.

## Slide 16: Data Analysis
Non-calibrated Time Series: data from all four cards varied from each other.
After calibration, data was averaged around 400ppm between 17:45 - 18:45 (10:45 am – 11:45 am).
Fluctuations in data could suggest tampered levels of CO2 at surface.
Fluctuations in data could be caused by card mechanics.

## Slide 17: Card Status
Card 1 was described to be standard as it found 400ppm during personal data collection.
Card 2 followed similar pattern despite modifications/location difference.
Card 4 recorded outlier data before calibration.
Card 2 Location

## Slide 18: Improvements? Yes!
Hypothesized Card 3 was short-circuited due to contact with a metal pole.
Securing/Examining surrounding area to minimize interference.
Making certain each card worked appropriately.
Test runs versus actual runs.
More cards for larger data pool.
Ensuring proper activation/warm-up time window.

## Slide 19: Questions? Comments? Stories? …Anything?