## Slide 1: The Relationships Between the Earth's Surface Temperature and the Air Temperature as a Function of Time of Day and Meteorology.
By: Gina Stednitz

## Slide 2: Board Setup
IR sensor for surface temperature measurement, using the I2C interface.
Thermistor temperature sensor
Chronodot for time measurement. (4 seconds slow)
Adafruit MicroSD card to save data using the SPI interface.
Digital pressure sensor, the MS5637 GY37 sensor.
Power: 9 Volt Battery
Notes: Thermistor: A negative temperature coefficient (NTC) thermistor is a
two terminal solid state electronic component that exhibits
a large, predictable change in resistance corresponding
to changes in absolute body temperature. This change in
body temperature of the thermistor can be brought about
either externally via a change in ambient temperature or
internally by heat resulting from current passing through
the device or by a combination of these effects.

## Slide 3: IR Sensor
The silicon filter passes IR radiation.
The blackbody absorbs IR radiation and heats up.
A thermopile (thermocouples connected in series) is below the blackbody; it provides a small voltage, perhaps microvolts.
The thermistor measures the overall chip temperature, and that is the thermopile reference junction temperature.
This sensor measures infrared light bouncing off of remote objects so it can sense temperature without having to touch them physically.
Simply point the sensor towards what you want to measure and it will detect the temperature by absorbing IR waves emitted. Because it doesn't have to touch the object it's measuring, it can sense a wider range of temperatures than most digital sensors: from -70°C to +380°C!
It takes the measurement over an 90-degree field of view so it can be handy for determining the average temperature of an area.

## Slide 4
Concrete Shaded

## Slide 5
Concrete Sun

## Slide 6
Grass Sun

## Slide 7
Asphalt Sun

## Slide 8
Hands in the air like you just don’t care!

## Slide 9
IR Ground Temperature Vs. Time

## Slide 10
Pressure Vs. Time

## Slide 11
Thermistor Temperature Air Vs. Time