## Slide 1: PhotoAcoustic Analysis of Black Carbon Combustion Aerosol
By Pat Arnott pat@dri.edu, Desert Research Institute, Reno NV
Collaborators: Hans Moosmüller, Fred Rogers, John Walker, Barbara Zielinska, John Sagebiel, Eric Fujita, Dave Campbell, Rick Purcell, Dan Wermers, Sebastian Upallalli (DRI), Rich Raspet, Willie Slaton (Univ. Miss.), James Mehl, Rob Abbott, Mike Ossosfsky, Khadeejeh Hamasha, Ali Rahmah, Kristin Lewis, Lupita Paredes (Students), Adel Sarofim, Kerry Kelly, Dave Wagner, Joanne Lighty (Univ. Utah CFE), Otmar Schmid, Meinrat Andreae (Max Planck Institute for Chemistry), John Ogren and Pat Sheridan (NOAA CMDL), John Seinfeld, Rick Flagan, Haf Jonsson (CAL TECH), Anthony Strawa, Beat Schmid, Rich Ferrare (NASA)
Funding over the years: EPA, NPS, ONR, NSF, DOE, DOD-SERDP, DRI, UNR, NIOSH

## Slide 2: FIRE!!

## Slide 3: Soot: 10 - 50 nm monomers chained together to form larger aggregates. ‘Onion Shell’ structure of the monomers.
IMAGE CREDIT:
http://7starm.asu.edu/Buseck2000%20/figure_10.htm
TEM images of soot.
A, B. Chain-like soot aggregates. (A--Phoenix, after Katrinak et al., 1993; B--Sagres, Portugal, ACE-2).
C. High-resolution TEM image of the arrowed soot aggregate showing the onion-like structure of soot spheres. (Southern Ocean, ACE-1; after Pósfai et al, 1999).

## Slide 4: James Hansen, NASA Climatologist Man’s Climate Forcings Above and Beyond those of ‘Nature’
http://www.nrel.gov/vehiclesandfuels/nfti/pdfs/bc2_jhansen.pdf

## Slide 5: Visibility Overview: From Bill Malm, NPS Fort Collins
Notes: Important factors involvede in seeing a scenic vista. Image forming information from an object is reduced (scattered and absorbed) as it passes through the atmosphere to the human observor. Sunlight, light from clouds and the grounds are scattered from particles in the sight path. Some scattered light remains in the sight path and can be so bright that the image essentially disappears.

## Slide 6: Atmospheric Aerosol: From small to large particles
Source:
Malm, NPS
Notes: Mass size distribution. Coarse particles tend to have natural origins and typically deposit out close to the source. Fine particles are usually man-made, can transport great distances, and cause the greatest visibility impairment.

## Slide 7: Typical types of fine particle mass
Source:
Malm, NPS
Elemental Carbon (EC) is loosely similar to Black Carbon (BC)

## Slide 8: Scattering and Absorption of Light by Aerosols: Adapted from Jin Xu, DRI.
Io=Light Source (W/m2)
I=Light
Detector (W/m2)
L=Path Length
Treatment of the direct beam.
(The diffuse radiation comes from scattering.)

## Slide 9: Simplified description of filter methods for light absorption. PSAP and AETHALOMETER
Aerosol are deposited on the light-diffusing filter, multiple scattering substrate.
Light absorbing aerosol reduce the light power at the photodetector.
Light scattering aerosol don't reduce power in principle.
Calibration and effects of aerosol loading (blocking)??
We have noted Giant RH induced artifacts (PSAP).

## Slide 10: PSAP: Particle Soot Absorption Photometer A filter-based measure of light absorption.
Reference filter on the right. Aerosol-loaded filter on the left. Compare light transmission through these filters as a measure of light absorption.

## Slide 11: Aethalometer Filter Details: Side view.

## Slide 12: Photoacoustic Instruments For Light Absorption Measurements
Basic principles:
Laser light is power modulated by the chopper.
Light absorbing aerosols convert light to heat - a sound wave is produced.
Microphone signal is a measure of the light absorption.
Light scattering aerosols don't generate heat.

## Slide 13: Photoacoustics and Alexander Graham Bell

## Slide 14: Schematic of 3 wavelength Photoacoustic instrument with scattering sensor

## Slide 15: PA serial # 1...

## Slide 16: Photoacoustic Instrument Details: Equation to Obtain Light Absorption Coefficient.

## Slide 17: Strongly Absorbing Aerosol Response

## Slide 18: Images of Black Carbon Particles from Spark Ignition Vehicles?

## Slide 19: BC During the Modified UC Test

## Slide 20: Smoke, Reno Fire, August 2006 photo by Lupita Paredes

## Slide 21: SMOCC
Smoke Aerosols, Clouds, Rainfall and Climate:
Aerosols from Biomass Burning Perturb Regional
and Global Climate
S M O C C
http://dionysos.mpch-mainz.mpg.de/smocc/
Notes: S M O C C
Objectives
The overall goal of SMOCC is to investigate the connection between the composition and abundance of biomass burning aerosol, the lowering of the size of cloud droplets formed on this aerosol, and the climatic consequences of the resulting perturbation of cloud physics. To achieve this goal, we will:
(1) Make field measurements of aerosol and supporting parameters in the Amazon Basin;
(2) chemically characterise the aerosols produced by biomass burning, with particular attention to the organic fraction;
(3) determine the link between the aerosol chemical/physical properties and the aerosol hygroscopic and cloud-nucleating properties;
(4) model the effect of biomass burning aerosol on cloud microphysics at the cloud and regional level; (5) investigate the effect of smoke aerosols on climate dynamics and the resulting large-scale climate effects;
(6) use satellite data to detect, validate and quantify the effect of smoke aerosol on cloud properties and precipitation processes.

## Slide 22: Ecology in Porto Velho, Brazil

## Slide 23: Green Ocean, Horizon to Horizon

## Slide 24: Deforestation

## Slide 25: Images near Ouro Preto: One Study Site

## Slide 26: Amazonian house for science built by the Brazilians for this project

## Slide 27: Site Details

## Slide 28: Aerosol Optics Measurements at the Pasture

## Slide 29: Sky at the SGP, May 2003.

## Slide 30: Where does the Aerosol Come From During the ‘Main Event’?
Maybe a city-plume was responsible for the aerosol? Wichita? Oklahoma City?

## Slide 31: Otter over GIF Trailer, Photo courtesy Yin-Nan Lee, BNL

## Slide 32: Photoacoustic Measurements from the Twin Otter

## Slide 33: Vertical Profile 27 May 2003: Pancaked Layers of Russian Forest Fire Smoke
Significant layers of light absorbing aerosol near 650 mb and 550 mb, with a clean layer in between at 600 mb.
PHOTOACOUSTIC LIGHT ABS.

## Slide 34: Megacities
1950
2000
2015

## Slide 35: Photoacoustic Measurements of Aerosol light absorption and scattering at four sites in and near Mexico City
Guadalupe Paredes-Miranda and William P. Arnott
Department of Physics, University of Nevada Reno, and Desert Research Institute.
Jeffrey S. Gaffney and Nancy Marley
Department of Chemistry, University of Arkansas
Presented in July 2006, Second International Conference on Global Warming and the Next Ice Age. Aerosol Workshop on Climate Prediction Uncertainties

## Slide 36
The MILAGRO field campaign was carried out in
March 1-30, 2006
in Mexico City.
MEGACITY AEROSOL EXPERIMENT IN MEXICO CITY (MAX-MEX)
Understand the local and global radiative and cloud microphysical impacts of aerosol from a large city, Mexico City.

## Slide 37
LAT N 19 00
LONG W 99
Altitude 2240 m to 3700 m North to South
Area: 1 964 375 Km²

## Slide 38
~23,000,000 people in 2005
>4,000,000 Motor vehicles
About Mexico City…

## Slide 39: MEASUREMENT SITES
T0: Instituto Mexicano del Petroleo, Distrito Federal, Northeast Mexico City.
T1: University of Tecamac, Tecamac, north of Mexico City.
T2: Rancho La Biznaga, Road to Pachuca Hidalgo, north of Mexico City.
T3: Paseo De Cortes, Amecameca
(All sites inside Mexico City)

## Slide 40
Scale 25 miles between
IMP and U of Tecamac
Scale 65 miles between IMP and La Biznaga

## Slide 41: Air Pollution in Mexico City
~ 85% coming from fuel combustion
~ 15% dust
~ 44 x106 liters of burned fuel as follows:
25% industry, 11% housing, 9% power companies, and 55% in transportation
(REFERENCESecretaria del Medio Ambiente SMP:
Government Department for the study of the Environment) THIS TALK CONSIDERS…
Gaseous (NO2) and aerosol light absorption and scattering at sites T0, T1, and T2.

## Slide 42: Sometimes transportation may pollute in a different way! Methane Makers…

## Slide 43: Relatively clean day at IMP in the Northeast.

## Slide 44: Example of a day when the Mexico City Plume Goes South to Popocatepetl 17k’ volcano.

## Slide 45: Photoacoustic instrumentation at the sites
T0: IMP Mexico City
Absorption and Scattering by particles and gaseous compounds: 532 nm
T1: TECAMAC
Absorption and Scattering by particles: 870 nm .
T2: LA BIZNAGA
Absorption by particles: 870 nm
T3: AMECAMECA Mountains
Absorption and Scattering by particles, 780nm

## Slide 46: Inlet System at T0

## Slide 47: TO Site Mexico City Aerosol Optics for 532 nm
Missing data given by the color white.
Aerosol Absorption
Note the day to day variability in the peak absorption, probably due to meteorology.
Aerosol Scattering
Aerosol Scattering peaks later in the day than absorption, probably due to dust, OC, and inorganics.

## Slide 48
Gaseous Absorption, 532 nm, mostly NO2,
(1/3 Mm-1 / ppb efficiency for absorption by NO2)
Note that gaseous absorption peaks 2 hours later in the day than particulate absorption. Peak particle absorption is 6x gaseous absorption peak.
Particulate Absorption, 532 nm
GASEOUS AND PARTICULATE ABSORPTION

## Slide 49: Average Single Scattering Albedo: Scattering/Extinction
Cooling effect
Warming effect
Morning rush hour.
Large amounts of black carbon aerosol.
Afternoon.
Well mixed atmosphere.
Regional dust and local emissions mix.

## Slide 50: Aerosol Optics for 870 nm @ T1 30 minute average data
Aerosol Absorption
T1 Tecamac University typically has large amounts of windblown dust in the afternoon.
Aerosol Scattering

## Slide 51
Cooling effect
Warming effect
Morning rush hour.
Large amounts of black carbon aerosol.
Afternoon.
Well mixed atmosphere.
Regional dust and local emissions mix.

## Slide 52: Rural Site: Absorption only, Long range plume transport from the south when level are higher.

## Slide 53: Rural Mountain Site:, Long range plume transport from the north when level are higher.

## Slide 54: Rural Mountain Site:, Long range plume transport from the north when level are higher. Back trajectories and temperature.

## Slide 55
A tale of 2 Cities…
Vegas: Jan thru Feb
Daily variations small
Mexico City: March
Daily variations large

## Slide 56: Summary
Significant day to day variations of BC are observed due to meteorology in the Mexico City basin.
Peak gaseous absorption is approx. 2 hr later in the day than peak particle absorption. Peak 30-minute-average aerosol absorption in Mexico City was 180 Mm-1.
Daily single scattering albedos vary between 0.4 and 0.85 at 532 nm at the T0 site. Transportation dominates aerosol optics in the morning and windborne dust is important in the afternoon, especially at the T1 site.

## Slide 57: Field Work At T1
SITES ALONG THE WAY….

## Slide 58: Future Car: Maime Eisenhouser Family Hot Rod (Ponca City U-Haul South)

## Slide 59: Under the hood

## Slide 60: Washing Machine used in Mexico City

## Slide 61: Drip System in Mexico City

## Slide 62: Guanajuato: Miguel Hidalgo & the birth of Mexico’s Independence

## Slide 63: Guanajuato: City of Music and Art (Jorge Negrete and Fan Club)

## Slide 64: Perros and Perro Callejeros

## Slide 65: Best Job on the Planet: El Torno and Chess Judge

## Slide 66: Graffiti With a Purpose…

## Slide 67: Sanborns Restaurant originally a hacienda built in 1597, Revolutionaries ate there…

## Slide 68: Calle de Tacuba Downtown Mexico City

## Slide 69: Art on display at Palacio de Bellas Artes: Diego Rivera

## Slide 70: Concert at Zocalo Downtown Mexico City

## Slide 71: Working on an instrument at Gloria’s house in Mexico City. Thanks for the help, “ayuda”. Thanks for your attention.